## Log
Environmental Monitoring Log
Authority |  | Adopted by Hickory County 911 under the authority of the Sheriff.
Owner |  | Director
Version / Dates |  | Version 1.0 Effective Date 2026-03-01 Next Review 2027-03-01
Classification |  | Internal
Coverage / Scope |  | Covers environmental monitoring of critical spaces: dated alerts and responses, and scheduled sensor-health checks. Sensors, thresholds, and alert routing are held in the Environmental Sensor Inventory & Alert Configuration. Covers 2026-03-01 to 2027-02-28. Reviewer (role): Director.
Monitoring Entries
Entry # | Date / Time | Entry type | Sensor / location | Trigger or check | Response / resolution
001 | 2026-03-01 09:00 | Health check | All sensors, server room | Monthly check of temperature, humidity, and smoke sensors | All operational.
002 | 2026-06-14 22:10 | Alert | Temperature sensor, server room | Temperature 31 C, over the 28 C threshold | On-call notified; HVAC reset; temperature normal within 15 minutes.
Findings
One high-temperature alert in June, resolved by an HVAC reset. Monthly sensor checks confirmed all sensors operational.
Sign-off
Role | Name | Signature | Date
Reviewed by (Director) | Tracy Holloway | /s/ Tracy Holloway | 2026-06-14
Approved by (Sheriff) | (on file) | (on file) | 2026-06-14
Retention
Retention: 2 years, stored in the facilities records.
Source Authority
NENA-STA-040.2-2024: §6.7.2 (Environmental Controls)
NIST SP 800-53 Rev. 5: PE-13, PE-14, PE-15
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-03-01 | Director | Initial issue