NTP Configuration Documentation

Authority: Adopted by Tri-River Regional 911 Center under the authority of the Director. Version: 1.0 Effective Date: 2026-04-10 Next Review: 2027-04-10 Owner: IT Team Classification: Restricted

## 1. Purpose and Scope

This record documents the Agency’s time synchronization as built: the authoritative time sources, the systems that synchronize to them, the authentication and acceptable drift, and failover. It supports the Logging Policy’s timestamp requirements and is the baseline the Time Synchronization Audit Records verify against. Scope includes servers, network devices, Session Border Controllers, and edge devices.

## 2. Time Sources and Synchronized Systems

Authoritative time sources

| Source | Type | Stratum / reference | Authentication | Role |
| --- | --- | --- | --- | --- |
| Stratum-1 NTP appliance A | GPS-disciplined NTP appliance | Stratum 1 | NTS / symmetric key | Primary |
| Stratum-1 NTP appliance B | Redundant GPS NTP appliance | Stratum 1 | NTS / symmetric key | Primary (redundant) |
| External NTP pool | External NTP | Stratum 2 | n/a | Failover |

Synchronized systems

| System or group | Syncs to | Poll interval | Acceptable drift |
| --- | --- | --- | --- |
| CAD, RMS, and call-handling servers (both centers) | Stratum-1 NTP appliances | Every 15 minutes | Under 0.5 second |
| Network devices, SBCs, and video gateways | Stratum-1 NTP appliances | Every 15 minutes | Under 0.5 second |
| Workstations and edge devices | Stratum-1 NTP appliances | Hourly | Under 1 second |

## 3. Current Configuration

| Setting | Current value | Notes |
| --- | --- | --- |
| NTP service | Enabled and authenticated from the configuration management system | NTS where supported |
| Failover behavior | Automatic across redundant appliances, then external pool | Monitored by the SIEM |

## 4. Approved Settings and Deviation Log

| Setting | Approved value | Deviation? | Approved by (role) | Date |
| --- | --- | --- | --- | --- |
| Acceptable drift | Under 0.5 second for logging hosts and SBCs | N | IT Team | 2026-04-10 |
| Authentication | NTS or symmetric key required on internal sources | N | IT Team | 2026-04-10 |

## 5. Validation and Review

The as-built time synchronization is verified against this record at least monthly by the IT Team; results are recorded in the Time Synchronization Audit Records.

## Profile Scaling Notes

| PSAP Profile | Minimum-viable implementation |
| --- | --- |
| Large (25+, dedicated IT/security) | A redundant GPS-backed NTP service with authenticated sync across all system groups, documented from the configuration management system and validated on a schedule. |

Source Authority NENA-STA-040.2-2024: §5.6, §5.6.1 NIST SP 800-53 Rev. 5: AU-8, SC-45, SC-45(1)

## Approval Signatures

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| IT Team | Sam Whitfield | /s/ Sam Whitfield | 2026-04-10 |
| Information Security Analyst | Raymond Osei | /s/ Raymond Osei | 2026-04-10 |

## Change History

| Version | Date | Author | Summary of Change |
| --- | --- | --- | --- |
| 1.0 | 2026-04-10 | IT Team | Initial issue |