NTP Configuration Documentation

Authority: Adopted by Wabash Valley Communications under the authority of the Director. Version: 1.0 Effective Date: 2026-04-10 Next Review: 2027-04-10 Owner: Shared County IT Classification: Restricted

## 1. Purpose and Scope

This record documents the Agency’s time synchronization as built: the authoritative time sources, the systems that synchronize to them, the authentication and acceptable drift, and failover. It supports the Logging Policy’s timestamp requirements and is the baseline the Time Synchronization Audit Records verify against. Scope includes servers, network devices, Session Border Controllers, and edge devices.

## 2. Time Sources and Synchronized Systems

Authoritative time sources

| Source | Type | Stratum / reference | Authentication | Role |
| --- | --- | --- | --- | --- |
| Internal NTP cluster | Internal NTP (GPS-fed) | Stratum 2 | Symmetric key | Primary |
| GPS clock | GPS | GPS reference | n/a | Failover |
| External NTP (backup) | External NTP | Stratum 1 | n/a | Secondary |

Synchronized systems

| System or group | Syncs to | Poll interval | Acceptable drift |
| --- | --- | --- | --- |
| CAD and call-handling servers (both sites) | Internal NTP cluster | Hourly | Under 1 second |
| Network devices and SBCs | Internal NTP cluster | Hourly | Under 1 second |
| Workstations | Internal NTP cluster | At logon | Under 2 seconds |

## 3. Current Configuration

| Setting | Current value | Notes |
| --- | --- | --- |
| NTP service | Enabled and authenticated on all hosts | Symmetric key on the internal cluster |
| Failover behavior | Automatic to GPS, then external NTP | Holdover configured |

## 4. Approved Settings and Deviation Log

| Setting | Approved value | Deviation? | Approved by (role) | Date |
| --- | --- | --- | --- | --- |
| Acceptable drift | Under 1 second for logging hosts and SBCs | N | Shared County IT | 2026-04-10 |
| Authentication | Symmetric key required on the internal cluster | N | Shared County IT | 2026-04-10 |

## 5. Validation and Review

The as-built time synchronization is verified against this record at least quarterly by the Shared County IT; results are recorded in the Time Synchronization Audit Records.

## Profile Scaling Notes

| PSAP Profile | Minimum-viable implementation |
| --- | --- |
| Medium (6–25, shared county IT) | An internal NTP source with authenticated sync and a GPS or external failover, documented per system group, with drift thresholds set for logging hosts and SBCs. |

Source Authority NENA-STA-040.2-2024: §5.6, §5.6.1 NIST SP 800-53 Rev. 5: AU-8, SC-45, SC-45(1)

## Approval Signatures

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Shared County IT | Priya Nair | /s/ Priya Nair | 2026-04-10 |
| Security Coordinator | Dana Mercer | /s/ Dana Mercer | 2026-04-10 |

## Change History

| Version | Date | Author | Summary of Change |
| --- | --- | --- | --- |
| 1.0 | 2026-04-10 | Shared County IT | Initial issue |