## Log
UPS / Generator Test Records
Authority |  | Adopted by Tri-River Regional 911 Center under the authority of the Executive Director.
Owner |  | Facilities Lead
Version / Dates |  | Version 1.0 Effective Date 2026-01-06 Next Review 2027-01-06
Classification |  | Restricted
Coverage / Scope |  | Covers regular testing of backup power for mission-critical systems: generator load tests, UPS battery-capacity verification, automatic-transfer tests, and any portable fallback. Test frequency follows the Power Resilience Configuration Documentation. Covers 2026-01-01 to 2026-12-31. Reviewer (role): Facilities Lead.
Test Records
Entry # | Date | Unit tested | Test type | Result (measured vs required) | Deficiency & follow-up
001 | 2026-01-06 | Generators G-1 and G-2 | Generator load test | Pass; monthly no-load runs and quarterly load-bank test | None
002 | 2026-01-06 | UPS bank A and B | UPS battery capacity | Pass; 20 min at full load | None
003 | 2026-02-03 | Automatic transfer switch | Automatic transfer test | Pass; 6-second transfer | None
004 | 2026-03-03 | Portable generator, fallback | Portable fallback | Pass; staged and test-run under load | None
Findings
Monthly and quarterly tests across two generators, the UPS bank, the transfer switch, and the portable fallback all passed. No deficiencies.
Sign-off
Role | Name | Signature | Date
Reviewed by (Facilities Lead) | (on file) | (on file) | 2026-03-03
Approved by (Executive Director) | Dr. Lisa Park | /s/ Dr. Lisa Park | 2026-03-03
Retention
Retention: 3 years, stored in the secure records system.
Source Authority
NENA-STA-040.2-2024: §5.3 (Availability); §6.7.2 (Environmental Controls)
NIST SP 800-53 Rev. 5: CP-8, PE-9, PE-11
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-01-06 | Facilities Lead | Initial issue