## Log
Camera and Sensor Maintenance Record
Authority |  | Adopted by Wabash Valley Communications under the authority of the Director.
Owner |  | Shared county IT
Version / Dates |  | Version 1.0 Effective Date 2026-03-01 Next Review 2027-03-01
Classification |  | Restricted
Coverage / Devices |  | Covers cameras, badge readers, and door sensors at the dispatch floor, server room, and MDF. Check cadence: monthly. Reviewer (role): Shared county IT.
Log Entries
Entry # | Date Checked | Device ID / Location | Device Type | Functioning (Y/N) | Recording Verified (Y/N) | Retention Setting Confirmed | Fault Found | Remediation & Date
0001 | 2026-03-02 | Cam-11, dispatch floor | Camera | Y | Y | 30 days confirmed | None | n/a
0002 | 2026-03-02 | Cam-14, server room | Camera | Y | Y | 30 days confirmed | None | n/a
0003 | 2026-03-02 | Reader-05, server room | Badge reader | Y | n/a | n/a | Intermittent reads | Reader replaced 2026-03-06
0004 | 2026-03-02 | Cam-16, MDF | Camera | Y | Y | Set to 14 days; below 30-day standard | Retention below policy | Retention raised to 30 days 2026-03-04
0005 | 2026-04-01 | Sensor-08, server room door | Door sensor | Y | n/a | n/a | None | n/a
Findings
A server-room badge reader replaced for intermittent reads; one MDF camera found retaining only 14 days and reset to the 30-day standard. No coverage lost.
Sign-off
Role | Name | Signature | Date
Shared county IT | Priya Nair | /s/ Priya Nair | 2026-04-05
Director | Anthony Reyes | /s/ Anthony Reyes | 2026-04-06
Retention
Retention: 3 years, stored in the secure records system, per the Document Handling Standard. This is the retention of this maintenance record, separate from the camera or footage retention value in the entries above.
Source Authority
NENA-STA-040.2-2024: §6.1.1 (Physical Protections); §6.1.6 (Monitoring Physical Access)
NIST SP 800-53 Rev. 5: MA-2, MA-6, PE-6, PE-6(1)
CJIS Security Policy v5.9: §5.9.1 (Physically Secure Location; where the monitored area holds CJIS-regulated systems)
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-03-01 | Shared county IT | Initial issue