## Log
Environmental Monitoring Log
Authority |  | Adopted by Wabash Valley Communications under the authority of the Director.
Owner |  | IT Support Lead
Version / Dates |  | Version 1.0 Effective Date 2026-03-03 Next Review 2027-03-03
Classification |  | Internal
Coverage / Scope |  | Covers environmental monitoring of critical spaces: dated alerts and responses, and scheduled sensor-health checks. Sensors, thresholds, and alert routing are held in the Environmental Sensor Inventory & Alert Configuration. Covers 2026-03-03 to 2027-03-02. Reviewer (role): IT Support Lead.
Monitoring Entries
Entry # | Date / Time | Entry type | Sensor / location | Trigger or check | Response / resolution
001 | 2026-03-03 08:30 | Health check | Temperature, humidity, and water sensors, server room and IDF | Quarterly sensor health and battery check | All operational.
002 | 2026-04-19 02:40 | Alert | Water sensor, IDF closet | Water detected under the raised floor | Facilities notified; HVAC condensate leak fixed; area dried.
003 | 2026-06-05 14:05 | Alert | Temperature sensor, server room | Temperature 30 C | HVAC serviced; temperature normal within 20 minutes.
Findings
A water-sensor alert (a condensate leak, fixed) and a high-temperature alert (HVAC serviced) in the second quarter. Quarterly sensor checks passed.
Sign-off
Role | Name | Signature | Date
Reviewed by (IT Support Lead) | (on file) | (on file) | 2026-06-05
Approved by (Director) | Anthony Reyes | /s/ Anthony Reyes | 2026-06-05
Retention
Retention: 2 years, stored in the facilities records.
Source Authority
NENA-STA-040.2-2024: §6.7.2 (Environmental Controls)
NIST SP 800-53 Rev. 5: PE-13, PE-14, PE-15
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-03-03 | IT Support Lead | Initial issue