Server Room / Equipment Area Hardening Assessment Record

Cover Assessment date: March 2, 2026 Assessor (role): Security Coordinator Scope: the Agency's server rooms and equipment areas, including cabling, equipment, and displays. Assessment period: Semi-annual, Q1 2026 Owner: Security Coordinator Classification: Restricted

## 1. Executive Summary

Wabash Valley Communications equipment sits in a dedicated, access-controlled server room. Placement, locking, and display protection conform to the standard. A small number of patch cables were unlabeled and were corrected during the assessment. No shared-space exposure.

## 2. Hardening Requirements Conformance

| Requirement area | What good looks like | Conformance | Notes / gap |
| --- | --- | --- | --- |
| Placement | Sensitive systems in restricted, climate-controlled rooms matched to classification | Conforms | Dedicated access-controlled server room |
| Cabling & conduit | Locked, labeled, restricted-zone cabling; inspected for tampering | Conforms | Unlabeled patch cables corrected during the assessment |
| Equipment locking | Equipment in locked racks or cabinets; keys limited to authorized staff | Conforms | Locked racks; keys held by IT |
| Display protection | Privacy filters and automatic screen lock on dispatch and call-taker displays | Conforms | Privacy filters and 3-minute auto-lock on all positions |

## 3. Findings

| ID | Finding | Severity | Recommendation |
| --- | --- | --- | --- |
| F-01 | A few patch cables in the server room were unlabeled | Low | Label remaining cables and add to the quarterly check |

## 4. Remediation Tracking

| Finding ID | Owner (role) | Action | Due date | Status |
| --- | --- | --- | --- | --- |
| F-01 | Security Coordinator | Label cables; add to quarterly check | March 2, 2026 | Closed |

## 5. Shared-Space / Co-location Risk

| Co-located equipment | Shared with | Risk | Compensating control |
| --- | --- | --- | --- |
| Not applicable | n/a | Equipment areas are dedicated PSAP space | n/a |

## Profile Scaling Notes

| PSAP Profile | Minimum-viable implementation |
| --- | --- |
| Medium (6–25, shared county IT) | County IT and the security coordinator assess the equipment areas against the standard on a set cycle, log gaps as findings, and track them to closure in the finding register. |

Source Authority List only the authorities that map to content in this artifact. Group by authority; order sections and control IDs numerically. No padding. Replace the lines below with the citations that actually apply. NENA-STA-040.2-2024: §5.2, §6.1.1, §6.1.4, §6.1.5, §6.7.2 NIST SP 800-53 Rev. 5: CA-2, PE-3, PE-4, PE-5, PE-14, PE-18

## Sign-off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Assessor (Security Coordinator) | Dana Mercer | /s/ Dana Mercer | March 2, 2026 |
| Reviewed by (Director) | Anthony Reyes | /s/ Anthony Reyes | March 2, 2026 |

## Revision History

| Version | Date | Author | Summary of Change |
| --- | --- | --- | --- |
| 1.0 | March 2, 2026 | Security Coordinator | Initial assessment |