## Log
UPS / Generator Test Records
Authority |  | Adopted by Hickory County 911 under the authority of the Sheriff.
Owner |  | Director
Version / Dates |  | Version 1.0 Effective Date 2026-01-15 Next Review 2027-01-15
Classification |  | Restricted
Coverage / Scope |  | Covers regular testing of backup power for mission-critical systems: generator load tests, UPS battery-capacity verification, automatic-transfer tests, and any portable fallback. Test frequency follows the Power Resilience Configuration Documentation. Covers 2026-01-01 to 2026-12-31. Reviewer (role): Director.
Test Records
Entry # | Date | Unit tested | Test type | Result (measured vs required) | Deficiency & follow-up
001 | 2026-01-15 | Standby generator G-1 | Generator load test | Pass; ran 30 min at full load (required 15 min) | None
002 | 2026-07-15 | UPS-1, dispatch | UPS battery capacity | Pass; 18 min runtime at full load (required 15 min) | None
Findings
Semiannual tests of the standby generator and the dispatch UPS both passed, with runtimes above requirement. No deficiencies.
Sign-off
Role | Name | Signature | Date
Reviewed by (Director) | Tracy Holloway | /s/ Tracy Holloway | 2026-07-15
Approved by (Sheriff) | (on file) | (on file) | 2026-07-15
Retention
Retention: 3 years, stored in the secure records system.
Source Authority
NENA-STA-040.2-2024: §5.3 (Availability); §6.7.2 (Environmental Controls)
NIST SP 800-53 Rev. 5: CP-8, PE-9, PE-11
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-01-15 | Director | Initial issue