## Log
Wabash Valley Communications · Worked Example
Configuration Drift Detection Records
Authority |  | Adopted by Wabash Valley Communications under the authority of Anthony Reyes, Director.
Owner |  | Security Coordinator
Version / Dates |  | Version 1.0 Effective Date 2026-03-02 Next Review 2027-03-02
Classification |  | Restricted
Date range / System |  | Covers 2026-01-01 to 2026-03-02. System / scope: the system types in the System Configuration Baselines. Reviewer (role): Security Coordinator.
Log Entries
Entry # | Detection Date / Time | System / System Type | Setting / Baseline Item | Baseline (Approved) Value | Detected Value | Severity | Triage Disposition | Remediation Action & Status | Detection Method / Tool
001 | 2026-01-12 02:00 | CAD appliance / Telephony | Syslog forwarding | Enabled to SIEM | Disabled | Med | Unauthorized drift | Re-enabled; root cause a vendor update | Nightly config scan
002 | 2026-02-01 02:00 | Switch SW-2 | Telnet | Disabled | Enabled | High | Unauthorized drift | Disabled; change ticket CR-2026-033 | Nightly config scan
003 | 2026-02-15 02:00 | Server SRV-1 | Service port 8080 | Not in baseline | Open | Low | Authorized change | Baseline updated via change CR-2026-035 | Nightly config scan
Findings
Three drifts in Q1: two unauthorized and corrected, one authorized change folded into the baseline. No repeat offenders.
Sign-off
Role | Name | Signature | Date
Reviewed by (Security Coordinator) | Dana Mercer | (on file) | 2026-03-02
Approved by (Director) | Anthony Reyes | (on file) | 2026-03-02
Retention
Retention: 2 years, stored in the shared county security folder, per the Document Handling Standard.
Source Authority
NENA-STA-040.2-2024: §5.6, §6.19
NIST SP 800-53 Rev. 5: AU-6, CM-2, CM-3, CM-6, SI-7
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-03-02 | Security Coordinator | Initial issue