## Log
Failover Test Records
Authority |  | Adopted by Tri-River Regional 911 Center under the authority of Dr. Lisa Park, Director.
Owner |  | IT Team
Version / Dates |  | Version 1.0 Effective Date 2026-01-15 Next Review 2026-07-15
Classification |  | Restricted
Redundancy design / period |  | Redundancy design version tested: 3.0. Test window: 2025 to 2026.
Log Entries
Entry # | Date | Failover path / component | Simulated failure scenario | Expected vs actual shift time | Result & remediation
1 | 2025-10-14 | CAD (Center A to Center B, automatic) | Primary CAD cluster stopped | Target <= 1 min; actual 30 sec | Automatic failover clean; no data loss
2 | 2026-02-05 | NG911 BCF/ESRP (primary to alternate edge) | Primary BCF edge down | Target <= 30 sec; actual 12 sec | Automatic reroute; SIEM logged the event
3 | 2026-05-20 | Full site: Center A power loss, shift to Center B | Center A utility cut (planned) | Target <= 15 min; actual 11 min | Clean site failover; generator carried Center A
Findings
Three failover tests in the window, including a full site shift between centers. CAD, NG911 edge, and full-site failover all beat target with no data loss.
Sign-off
Role | Name | Signature | Date
IT Team | Sam Whitfield | /s/ Sam Whitfield | 2026-05-20
Information Security Analyst | Raymond Osei | /s/ Raymond Osei | 2026-05-20
Retention
Retention: kept for at least three test cycles, stored with the continuity records.
Source Authority
NENA-STA-040.2-2024: §5.3, §5.7, §6.14
NIST SP 800-53 Rev. 5: CP-4, CP-7
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-01-15 | IT Team | Initial issue