## Log
Camera and Sensor Maintenance Record
Authority |  | Adopted by Hickory County 911 under the authority of the Director.
Owner |  | County IT
Version / Dates |  | Version 1.0 Effective Date 2026-03-01 Next Review 2027-03-01
Classification |  | Restricted
Coverage / Devices |  | Covers 4 devices (2 cameras, 1 badge reader, 1 door sensor) at the dispatch floor and equipment room. Check cadence: quarterly. Reviewer (role): County IT.
Log Entries
Entry # | Date Checked | Device ID / Location | Device Type | Functioning (Y/N) | Recording Verified (Y/N) | Retention Setting Confirmed | Fault Found | Remediation & Date
0001 | 2026-03-15 | Cam-01, dispatch entry | Camera | Y | Y | 30 days confirmed | None | n/a
0002 | 2026-03-15 | Cam-02, equipment room | Camera | Y | N | n/a | Not recording; storage full | Disk replaced 2026-03-17; recording confirmed
0003 | 2026-03-15 | Reader-01, equipment room door | Badge reader | Y | n/a | n/a | None | n/a
0004 | 2026-03-15 | Sensor-01, equipment room door | Door sensor | Y | n/a | n/a | None | n/a
Findings
One camera found not recording (storage full, equipment room); storage replaced and recording confirmed within two days. All other devices functioning and retaining footage to standard.
Sign-off
Role | Name | Signature | Date
County IT | Marcus Reed | /s/ Marcus Reed | 2026-04-05
Director | Tracy Holloway | /s/ Tracy Holloway | 2026-04-06
Retention
Retention: 3 years, stored in the secure records system, per the Document Handling Standard. This is the retention of this maintenance record, separate from the camera or footage retention value in the entries above.
Source Authority
NENA-STA-040.2-2024: §6.1.1 (Physical Protections); §6.1.6 (Monitoring Physical Access)
NIST SP 800-53 Rev. 5: MA-2, MA-6, PE-6, PE-6(1)
CJIS Security Policy v5.9: §5.9.1 (Physically Secure Location; where the monitored area holds CJIS-regulated systems)
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-03-01 | County IT | Initial issue