## Register
Environmental Sensor Inventory & Alert Configuration
Authority |  | Adopted by Tri-River Regional 911 Center under the authority of the Executive Director.
Owner |  | Facilities Lead
Version / Dates |  | Version 1.0 Effective Date 2026-01-05 Next Review 2027-01-05
Classification |  | Restricted
Review cadence |  | Reviewed at least annually by the Facilities Lead; entries kept current as sensors are added, changed, or retired.
Register Entries
Sensor ID | Sensor type & location | Alert configuration (method / threshold / routing) | Owner (role) | Status | Last reviewed | Next review due
ENV-01 | Temperature, data hall A | Continuous; over 26 C; paging + dashboard | Facilities Lead | Active | 2026-01-05 | 2027-01-05
ENV-02 | Temperature, data hall B | Continuous; over 26 C; paging + dashboard | Facilities Lead | Active | 2026-01-05 | 2027-01-05
ENV-03 | Humidity, data halls A and B | Continuous; outside 30-55%; dashboard | Facilities Lead | Active | 2026-01-05 | 2027-01-05
ENV-04 | Water, under-floor, both halls | Continuous; any detection; paging | Facilities Lead | Active | 2026-01-05 | 2027-01-05
ENV-05 | Smoke/VESDA, both halls | Continuous; pre-alarm and alarm; alarm + paging | Facilities Lead | Active | 2026-01-05 | 2027-01-05
ENV-06 | Temperature, legacy MDF | Continuous; over 27 C; dashboard | Facilities Lead | Retired | 2026-01-05 | 2026-07-13
Summary (as of 2026-07-14)
Total entries
Active
Faulty
Retired
Past due for review
Source Authority
NENA-STA-040.2-2024: §6.7.2 (Environmental Controls)
NIST SP 800-53 Rev. 5: PE-13, PE-14, PE-15
Approval Signatures
Role | Name | Signature | Date
Executive Director | Dr. Lisa Park | /s/ Dr. Lisa Park | 2026-01-05
Owner (Facilities Lead) | (on file) | (on file) | 2026-01-05
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-01-05 | Facilities Lead | Initial issue