## Register
Environmental Sensor Inventory & Alert Configuration
Authority |  | Adopted by Wabash Valley Communications under the authority of the Director.
Owner |  | IT Support Lead
Version / Dates |  | Version 1.0 Effective Date 2026-03-03 Next Review 2027-03-03
Classification |  | Restricted
Review cadence |  | Reviewed at least annually by the IT Support Lead; entries kept current as sensors are added, changed, or retired.
Register Entries
Sensor ID | Sensor type & location | Alert configuration (method / threshold / routing) | Owner (role) | Status | Last reviewed | Next review due
ENV-01 | Temperature, server room | Continuous; over 27 C; SMS + paging | IT Support Lead | Active | 2026-03-03 | 2027-03-03
ENV-02 | Humidity, server room | Continuous; outside 30-60%; dashboard | IT Support Lead | Active | 2026-03-03 | 2027-03-03
ENV-03 | Water, IDF closet | Continuous; any detection; SMS + paging | IT Support Lead | Active | 2026-03-03 | 2027-03-03
ENV-04 | Smoke, server room and IDF | Continuous; any detection; alarm + SMS | IT Support Lead | Active | 2026-03-03 | 2027-03-03
ENV-05 | Temperature, radio room | Continuous; over 27 C; SMS | IT Support Lead | Faulty | 2026-03-03 | 2026-09-08
Summary (as of 2026-09-09)
Total entries
Active
Faulty
Retired
Past due for review
Source Authority
NENA-STA-040.2-2024: §6.7.2 (Environmental Controls)
NIST SP 800-53 Rev. 5: PE-13, PE-14, PE-15
Approval Signatures
Role | Name | Signature | Date
Director | Anthony Reyes | /s/ Anthony Reyes | 2026-03-03
Owner (IT Support Lead) | (on file) | (on file) | 2026-03-03
Revision History
Version | Date | Author | Summary of Change
1.0 | 2026-03-03 | IT Support Lead | Initial issue