Power Resilience Configuration Documentation

Authority: Adopted by [Agency Name] under the authority of [signing official / title]. Version: [#] Effective Date: [Date] Next Review: [Date] Owner: [Role title] «use a role, not a person’s name.» Classification: Restricted «Minimum for Configuration Record artifacts. Stays Restricted in nearly all cases; these records reveal active security settings. Raise to Confidential only if a named custodian creates personal security risk.»

How to use this template (delete this box before publishing) This template is ready to adopt. Replace every [BRACKETED] field with your agency’s information, write the content described in each « » note, then delete all « » notes before publishing. Placeholder key: [BRACKETED] = fill in · [REQUIRED] (bold) = required field · « » = guidance to delete. Keep the body director-readable. Push technical detail and contact lists to an appendix. Source Authority, approval signatures, and revision history stay at the foot of the document.

## 1. Purpose and Scope

«What system this record documents and why. A Configuration Record captures the as-built state; it is evidence of compliance with the governing Standard, not the rule itself.»

This record documents the as-built power resilience protecting the Agency’s mission-critical systems: UPS and generator capacity, the runtime each provides at full load, the managed-shutdown procedure beyond generator runtime, and the limited-capability alternatives for extended outages. It is the as-built evidence behind the continuity plan; response coordination sits in the Continuity of Operations Plan.

## 2. System Identification

«Identify the system precisely. Tie the Asset ID back to the Master Asset Inventory.»

| Field | Value |
| --- | --- |
| System name | Backup power (UPS and standby generator) |
| Environment | production |
| Location | [primary dispatch site] |
| Owner (role) | [Facilities / IT Support Lead] |
| Asset ID | [ID from Master Asset Inventory] |

## 3. Current Configuration

«The as-built state. Record settings as they are, not as they should be.»

| Unit | Capacity / runtime at full load | Systems and areas protected |
| --- | --- | --- |
| [UPS unit] | [capacity; runtime at full load] | [core network, dispatch consoles] |
| [Standby generator] | [capacity; runtime; on-site fuel] | [systems and areas powered] |
| [Portable / limited-capability alternative] | [capacity; limitation] | [what it powers in an extended outage] |

Managed shutdown beyond generator runtime. When generator runtime is exhausted, systems are shut down in a defined order to protect data and equipment, and staff move to the alternate or limited-capability option. The response is coordinated under the Continuity of Operations Plan.

## 4. Approved Settings and Deviation Log

«The approved baseline value for each setting and any approved deviation, with who approved it and when.»

| System tier | Required runtime | Deviation? | Approved by (role) | Date |
| --- | --- | --- | --- | --- |
| [system tier] | [required runtime] | [Y / N] | [role] | [date] |
| [system tier] | [required runtime] | [Y / N] | [role] | [date] |

## 5. Validation and Review

«How and how often the as-built state is checked against the approved baseline, and who does it. Each change is recorded in the Change History below.»

Validated against the Continuity of Operations Plan and the required runtimes at least [annually] by the [Owner role]. Test evidence is recorded in the UPS / Generator Test Records.

## Profile Scaling Notes

One short paragraph per profile: what minimum-viable looks like for that reader and where to scale up. Keep all three if this ships as a template; delete the profiles that do not apply once adopted.

| PSAP Profile | Minimum-viable implementation |
| --- | --- |
| Small (1–5 dispatchers, no in-house IT) | One person records the UPS and generator sizes, what each protects, and how long they last, and keeps a short managed-shutdown checklist. |
| Medium (6–25, shared county IT) | Shared county IT documents capacities and runtimes per system, and reviews the record after each power test. |
| Large (25+, dedicated IT/security) | The record is generated from facility and power-monitoring systems, with runtimes validated against measured load and reviewed on a set cycle. |

Source Authority List only the authorities that map to content in this artifact. Group by authority; order sections and control IDs numerically. No padding. Replace the lines below with the citations that actually apply. NENA-STA-040.2-2024: §5.3 (Availability); §6.7.2 (Environmental Controls) NIST SP 800-53 Rev. 5: CP-8, PE-9, PE-11, PE-12

## Approval Signatures

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| [System owner (role)] |  |  |  |
| [Security reviewer (role)] |  |  |  |

## Change History

«This table is the Configuration Record’s required change-history element. Add one row per configuration change.»

| Version | Date | Author | Summary of Change |
| --- | --- | --- | --- |
| [#] | [Date] | [Role] | [Initial issue] |

Drafter’s note (internal, delete before publishing): confirm the measured runtimes at full load and the managed-shutdown order against the most recent power test before finalizing.